## Extracted Tables
Table 1 -- P2_Table_1
0 | 1 | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
ZZ-DR-A 2050B XX-DR-A 2052A ZZ-DR-A 2080A ZZ-DR-A 2200A GF-DR-A 2201A 01-DR-A 2203A 02-DR-A 2205A GF-DR-A 2210A 01-DR-A 2211A GF-DR-A 2220A 01-DR-A 2221A GF-DR-A 2230A 01-DR-A 2231A GF-DR-A 2240A 01-DR-A 2241A GF-DR-A 2250A 01-DR-A 2251A GF-DR-A 2260A | Site Location Plan | 0.1.3 | Eradication of plant growth | 51.9% | 8.1.1 | Site clearance | EF_75_10_72 | Site clearance
| Existing Site Location Plan | 0.1.3 | Eradication of plant growth | 42.8% | 8.1.1 | Site clearance | EF_75_10_72 | Site clearance
| Site Constraints Plan | 0.1.3 | Eradication of plant growth | 51.5% | 8.1.1 | Site clearance | EF_75_10_72 | Site clearance
| Proposed Site Plan | 0.1.3 | Eradication of plant growth | 41.8% | 8.1 | Site Preparation | EF_75_10 | Site preparation
| Proposed Ground Floor Plan | 1.1.3 | Lowest floor construction | 81.3% | 1.2.1 | Standard/specialist foundations & lowest floor | EF_20_05_50 | Lowest floor construction
| Proposed First Floor Plan | 1.1.3 | Lowest floor construction | 62.7% | 1.2.1 | Standard/specialist foundations & lowest floor | EF_20_05_50 | Lowest floor construction
| Proposed Roof Plan | 2.3.1 | Roof structure | 71.2% | 2.2.1 | Roof structure | EF_20_20 | Roofs
| Unit 01 - Ground Floor Plan | 1.1.3 | Lowest floor construction | 69.3% | 1.2.1 | Standard/specialist foundations & lowest floor | EF_20_15_30 | Floor structures
| Unit 01 - First Floor Plan | 1.1.3 | Lowest floor construction | 53.1% | 6.1.2 | Building units | EF_20_05_50 | Lowest floor construction
| Unit 02 - Ground Floor Plan | 1.1.3 | Lowest floor construction | 71.3% | 1.2.1 | Standard/specialist foundations & lowest floor | EF_20_15_30 | Floor structures
| Unit 02 - First Floor Plan | 1.1.3 | Lowest floor construction | 55.4% | 6.1.2 | Building units | EF_20_05_50 | Lowest floor construction
| Unit 03 - Ground Floor Plan | 1.1.3 | Lowest floor construction | 71.8% | 1.2.1 | Standard/specialist foundations & lowest floor | EF_20_15_30 | Floor structures
| Unit 03 - First Floor Plan | 1.1.3 | Lowest floor construction | 54.5% | 6.1.2 | Building units | EF_20_05_50 | Lowest floor construction
| Unit 04 - Ground Floor Plan | 1.1.3 | Lowest floor construction | 73.2% | 1.2.1 | Standard/specialist foundations & lowest floor | EF_20_15_30 | Floor structures
| Unit 04 - First Floor Plan | 1.1.3 | Lowest floor construction | 55.8% | 6.1.2 | Building units | EF_20_05_50 | Lowest floor construction
| Unit 05 - Ground Floor Plan | 1.1.3 | Lowest floor construction | 68.6% | 1.2.1 | Standard/specialist foundations & lowest floor | EF_20_15_30 | Floor structures
| Unit 05 - First Floor Plan | 1.1.3 | Lowest floor construction | 54.0% | 6.1.2 | Building units | EF_20_05_50 | Lowest floor construction
| Unit 06 - Ground Floor Plan | 1.1.3 | Lowest floor construction | 69.5% | 1.2.1 | Standard/specialist foundations & lowest floor | EF_20_15_30 | Floor structures
01-DR-A 2261A | Unit 06 - First Floor Plan | 1.1.3 | Lowest floor construction | 53.5% | 6.1.2 | Building units | EF_20_05_50 | Lowest floor construction
ZZ-DR-A 2400A | Proposed Typical Sections | 1.1.1 | Standard foundations | 43.0% | 2.1 | Structure | EF_75_10 | Site preparation
ZZ-SK-A 9005A | Entrance Ramp Sketch | 2.4.1 | Stair/ramp structures | 57.3% | 2.1.3 | Stairs and ramps | EF_20_30 | Stairs and ramps
Table 2 -- P5_Table_2
Ref | Description | Quantity | Unit | Long Causeway - Leeds.Rate | Long Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Long Causeway - Leeds LONG CAUSEWAY, LEEDS STAGE 2 COST PLAN Demolition and Site Clearance New Shed Units External Works and Drainage External Services Preliminaries @5.5% Design Risk @2.5% EXCLUSIONS Contingency (Client allowing for this separately) VAT Inflation Professional Fees Statutory Fees Surveys and Reports Bio-diversity Net Gain requirements Removal of Asbestos or other Contaminants Removal of Equipment or Fixtures within existing buildings Abnormal foundations/piling New utility supplies (allowances made for diversions only) Costs associated with working in close proximity to the railway line/liaising with Network Rail Dock levellers/loading bay canopies or the like Total |  |  | 5.50 2.50 | 196,035 4,228,409 936,428 137,000 302,383 145,006 5,945,261 |  |  |  | 11.2 | Pre-construction fees
Table 3 -- P6_Table_3
Long Causeway - Leeds.Ref | Long Causeway - Leeds.Description | Long Causeway - Leeds.Quantity | Long Causeway - Leeds.Unit | Long Causeway - Leeds.Rate | Long Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Demolition and Site Clearance |  |  |  |  | 0.1.3 | Eradication of plant growth | 74.9% | 1.1.2 | Major demolition works | EF_75_10_72 | Site clearance
| Demolish existing warehouse/industrial building down to slab level; maximum 7m height to eaves | 3,548 | m2 | 25.00 | 88,700 | 7.1.1 | Minor demolition and alteration works | 47.6% | 7.1 | Minor demolition and alteration works | EF_20_05_50 | Lowest floor construction
| Break out existing reinforced concrete slab and shallow foundations (pads, ground beams, etc) | 3,548 | m2 | 20.00 | 70,960 | 1.1.1 | Standard foundations | 54.9% | 1.1.2 | Major demolition works | EF_20_10_20 | Concrete frames
| Break out existing concrete slab/service yard areas | 1,582 | m2 | 15.00 | 23,730 | 1.1.1 | Standard foundations | 51.1% | 7.1 | Minor demolition and alteration works | EF_20_10_20 | Concrete frames
| Break out existing tarmac access road/parking areas | 1,975 | m2 | 5.50 | 10,863 | 5.10.3 | Moving pavements | 39.6% | 8.2.1 | Roads and car parks | EF_75_20_70 | Roads and car parks
| Break out existing flag paving | 93 | m2 | 2.50 | 233 | 8.2.1 | Roads, paths and pavings | 49.7% | 8.2.2 | Paths and pavings | EF_75_20_60 | Paths and pavings
| Demolish existing brick retaining wall n.e 1500 high and grub up foundations | 31 | m | 50.00 | 1,550 | 1.1.5 | Basement retaining walls | 56.9% | 7.1 | Minor demolition and alteration works | EF_20_05_65 | Pile foundations
| Total |  |  |  | 196,036
Table 4 -- P7_Table_4
Long Causeway - Leeds.Ref | Long Causeway - Leeds.Description | Long Causeway - Leeds.Quantity | Long Causeway - Leeds.Unit | Long Causeway - Leeds.Rate | Long Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| New Shed Units Substructure |  |  |  | 822,775 | 6.1.2 | Building units | 53.0% | 6.1.2 | Building units | EF_20_05 | Substructure
Table 5 -- P8_Table_5
Long.Ref | Long.Description | Long.Quantity | Long.Unit | Causeway - Leeds.Rate | Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Substructure |  |  |  |  | 1.1.1 | Standard foundations | 100.0% | 1.2 | Substructure | EF_20_05 | Substructure
| Reinforced concrete foundations, pad bases and ground beams including all excavation, disposal, earthwork support concrete, reinforcement, etc | 3,730 | m2 | 25.00 | 93,250 | 2.1.4 | Concrete frames | 58.6% | 1.2.1 | Standard/specialist foundations & lowest floor | EF_20_10_20 | Concrete frames
| Reinforced concrete ground floor slab including all excavation, disposal, Type 1 sub-base, blinding, dpm, reinforcement, concrete with formed and induced joints | 3,730 | m2 | 175.00 | 652,750 | 1.1.1 | Standard foundations | 68.8% | 1.2.1 | Standard/specialist foundations & lowest floor | EF_20_10_20 | Concrete frames
| Cavity walls up to dpc level to perimeter | 415 | m | 185.00 | 76,775 | 8.8.3 | Underpinning to external site boundary walls | 49.3% | 2.3.5 | Subsidiary walls and balustrades | EF_25_20 | Internal walls
| Total |  |  |  | 822,775
Table 6 -- P9_Table_6
Long Causeway - Leeds.Ref | Long Causeway - Leeds.Description | Long Causeway - Leeds.Quantity | Long Causeway - Leeds.Unit | Long Causeway - Leeds.Rate | Long Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Frame |  |  |  |  | 2.1.1 | Steel frames | 100.0% | 2.1.1 | Frame | EF_20_10 | Frames
| Structural steelwork portal frame including fittings, erection, baseplates, etc | 3,730 | m2 | 125.00 | 466,250 | 2.1.1 | Steel frames | 68.0% | 4 | Fittings, Furnishings and Equipment | EF_20_10_75 | Steel frames
| Allowance for intumescent paint to steel for first floor offices and boundary walls | 1 | IT | 10,000.00 | 10,000 | 3.2.1 | Finishes to floors | 40.4% | 3.1.1 | Finishes to walls | EF_30_10_90 | Wall finish systems
| Total |  |  |  | 476,250
Table 7 -- P10_Table_7
Long Causeway - Leeds.Ref | Long Causeway - Leeds.Description | Long Causeway - Leeds.Quantity | Long Causeway - Leeds.Unit | Long Causeway - Leeds.Rate | Long Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Upper Floors |  |  |  |  | 2.2.1 | Floors | 100.0% | 2.1.2 | Upper floors | EF_30_20_70 | Raised access floors
| Composite flooring to first floor offices & welfare areas | 775 | m2 | 120.00 | 93,000 | 1.1.3 | Lowest floor construction | 60.9% | 3.2.2 | Raised access floors | EF_20_05_50 | Lowest floor construction
| Insulation & screed to first floor office & welfare areas | 775 | m2 | 80.00 | 62,000 | 3.2.2 | Raised access floors | 50.6% | 3.2.2 | Raised access floors | EF_30_20_70 | Raised access floors
| Removable infill floor to Stores at FF level within possible lift shaft | 18 | m2 | 150.00 | 2,700 | 3.2.2 | Raised access floors | 48.8% | 3.2.2 | Raised access floors | EF_30_20_70 | Raised access floors
| Total |  |  |  | 157,700
Table 8 -- P11_Table_8
Long Causeway - Leeds.Ref | Long Causeway - Leeds.Description | Long Causeway - Leeds.Quantity | Long Causeway - Leeds.Unit | Long Causeway - Leeds.Rate | Long Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Roof |  |  |  |  | 2.3.1 | Roof structure | 81.1% | 2.2 | Roof | EF_20_20 | Roofs
| Composite cladding to roof including rooflights over factory area | 3,730 | m2 | 105.00 | 391,650 | 2.3.5 | Rooflights, skylights and openings | 60.5% | 2.2.4 | Rooflights and openings | EF_20_20_70_50 | Rooflights
| Aluminium rainwater goods | 3,730 | m2 | 12.00 | 44,760 | 5.4.1 | Mains water supply | 44.6% | 5.4 | Water Installations | EF_50 | Waste disposal elements
| Allowance for Mansafe system for safe roof access | 3,730 | m2 | 10.00 | 37,300 | 2.3.3 | Specialist roof systems | 54.6% | 2.2.2 | Roof coverings | EF_20_20_75 | Roof coverings
| Roof access hatches; Bilco E50 or similar; including all trimming, flashings, etc | 6 | nr | 5,000.00 | 30,000 | 2.3.6 | Roof features | 61.4% | 2.2.2 | Roof coverings | EF_20_20_70_50 | Rooflights
| Total |  |  |  | 503,710
Table 9 -- P12_Table_9
Long Causeway - Leeds.Ref | Long Causeway - Leeds.Description | Long Causeway - Leeds.Quantity | Long Causeway - Leeds.Unit | Long Causeway - Leeds.Rate | Long Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Stairs |  |  |  |  | 2.4.1 | Stair/ramp structures | 100.0% | 2.1.3 | Stairs and ramps | EF_20_30 | Stairs and ramps
| Steel staircase with half landings for access to intermediate and first floor welfare & office areas; 6m rise overall; including steel handrails and balustrades | 6 | nr | 25,000.00 | 150,000 | 2.4.3 | Stair/ramp balustrades and handrails | 68.6% | 2.1.3 | Stairs and ramps | EF_20_30 | Stairs and ramps
| Roof access CAT ladders with safety cage; average 11m overall height | 6 | nr | 3,500.00 | 21,000 | 2.3.1 | Roof structure | 48.7% | 2.2.1 | Roof structure | EF_20_20_70 | Roof structures
| Total |  |  |  | 171,000
Table 10 -- P13_Table_10
Long.Ref | Long.Description | Long.Quantity | Long.Unit | Causeway - Leeds.Rate | Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| External Walls |  |  |  |  | 2.5.1 | External enclosing walls above ground level | 100.0% | 2.3.1 | External walls above ground | EF_25_10 | External walls
| Feature composite cladding to front elevation; micro- rib or similar panels including all flashings, trims, etc; 11m height to haunch | 197 | m | 1,650.00 | 325,050 | 2.5.1 | External enclosing walls above ground level | 56.8% | 2.3.3 | Cladding and screens | EF_20_20_70 | Roof structures
| Composite cladding to side and rear elevations; trapezoidal panels including all flashings, trims, etc; 8m height to haunch | 170 | m | 600.00 | 102,000 | 2.5.1 | External enclosing walls above ground level | 57.7% | 2.3.3 | Cladding and screens | EF_20_20_70 | Roof structures
| Composite cladding to side elevations; trapezoidal panels including all flashings, trims, etc; 10m average height to haunch | 50 | m | 750.00 | 37,500 | 2.5.1 | External enclosing walls above ground level | 53.7% | 2.3.3 | Cladding and screens | EF_20_20 | Roofs
| Blockwork to external walls and column casings up to 2300 above floor | 417 | m | 150.00 | 62,550 | 2.5.1 | External enclosing walls above ground level | 60.4% | 2.3.1 | External walls above ground | EF_25_10_30 | External wall structures
| Allowance for cavity barriers, firestops, etc | 1 | IT | 20,000.00 | 20,000 | 5.11.1 | Fire fighting systems | 49.7% | 5.11 | Fire Protection | EF_70_10 | Fire protection
| Total |  |  |  | 547,100
Table 11 -- P14_Table_11
Ref | Description | Quantity | Unit | Rate | Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Windows and External Doors |  |  |  |  | 2.6.2 | External doors | 100.0% | 2.4.2 | External doors | EF_25_40_25 | External doors
| Steel personnel escape door to rear of each unit | 6 | nr | 1,000.00 | 6,000 | 2.8.1 | Internal doors | 56.8% | 2.6.1 | Internal doors | EF_25_40_45 | Internal doors
| Aluminium double glazed windows to offices and welfare areas of each unit | 6 | nr | 3,500.00 | 21,000 | 2.6.2 | External doors | 48.7% | 2.2.2 | Roof coverings | EF_20_20 | Roofs
| Aluminium double glazed entrance doors & screens to each unit | 6 | nr | 5,000.00 | 30,000 | 2.6.2 | External doors | 58.6% | 2.4.2 | External doors | EF_25_40_25 | External doors
| Allowance for feature entrance/canopy to each unit | 6 | nr | 10,000.00 | 60,000 | 6.1.2 | Building units | 39.4% | 6.1.2 | Building units | EF_20_20_75 | Roof coverings
| Loading doors to each unit; electrically operated insulated roller doors with vision panels | 6 | nr | 4,500.00 | 27,000 | 2.6.2 | External doors | 55.4% | 2.4.2 | External doors | EF_25_40_25 | External doors
| Galvanised steel bollards to either side of loading doors to each unit | 6 | nr | 1,000.00 | 6,000 | 2.6.2 | External doors | 47.9% | 2.4.2 | External doors | EF_25_40_25 | External doors
| Total |  |  |  | 150,000
Table 12 -- P15_Table_12
Ref | Description | Quantity | Unit | Rate | Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Internal Walls & Partitions |  |  |  |  | 2.7.1 | Walls and partitions | 87.5% | 2.5.1 | Internal walls and partitions | EF_25_20 | Internal walls
| Dividing walls between Units; 140 blockwork; ave 10m to haunch height | 111 | m | 1,400.00 | 155,400 | 2.7.1 | Walls and partitions | 53.5% | 6.1.2 | Building units | EF_25 | Wall and barrier elements
| Firestopping to head | 111 | m | 85.00 | 9,435 | 5.11.1 | Fire fighting systems | 46.2% | 5.11 | Fire Protection | EF_70_10_33 | Fire suppression
| Fire Rated walls to form Stair Core, Lift Shafts, Offices, etc | 2,012 | m2 | 140.00 | 281,680 | 5.11.1 | Fire fighting systems | 49.3% | 5.11 | Fire Protection | EF_20_30_75 | Stair structures
| Non fire rated stud walls to form WC's, Stores, etc | 334 | m2 | 75.00 | 25,050 | 2.5.1 | External enclosing walls above ground level | 55.2% | 2.3.5 | Subsidiary walls and balustrades | EF_25_10 | External walls
| IPS system to FF WC's | 39 | m2 | 200.00 | 7,800 | 8.7.6 | Telecommunications and other communication system connections | 39.4% | 5.11.1 | Fire fighting systems | EF_70_10_32 | Fire fighting systems
| Total |  |  |  | 479,365
Table 13 -- P16_Table_13
Long Causeway - Leeds.Ref | Long Causeway - Leeds.Description | Long Causeway - Leeds.Quantity | Long Causeway - Leeds.Unit | Long Causeway - Leeds.Rate | Long Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Internal Doors |  |  |  |  | 2.8.1 | Internal doors | 100.0% | 2.6.1 | Internal doors | EF_25_40_45 | Internal doors
| Fire doors including ironmongery & decoration; from stair core to warehouse & office area of each unit and risers | 36 | nr | 1,100.00 | 39,600 | 2.6.2 | External doors | 51.1% | 2.4.2 | External doors | EF_25_40_25 | External doors
| Paint grade solid core doors including ironmongery and decoration; to WCand store areas of each unit | 30 | nr | 650.00 | 19,500 | 2.6.2 | External doors | 51.8% | 2.4.2 | External doors | EF_25_40_25 | External doors
| Paint grade solid core double doors including ironmongery and decoration; to WCand store areas of each unit | 12 | nr | 900.00 | 10,800 | 2.6.2 | External doors | 52.6% | 2.4.2 | External doors | EF_25_40_25 | External doors
| Total |  |  |  | 69,900
Table 14 -- P17_Table_14
Long Causeway - Leeds.Ref | Long Causeway - Leeds.Description | Long Causeway - Leeds.Quantity | Long Causeway - Leeds.Unit | Long Causeway - Leeds.Rate | Long Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Floor Finishes Floor finishes to office, core & welfare areas; entrance matting, carpet to offices & entrance areas with vinyl to wc's; skirtings | 1,027 | m2 | 65.00 | 66,755 | 3.2.1 | Finishes to floors | 72.7% | 3.2 | Floor Finishes | EF_30_20_35 | Floor finish systems
| Total |  |  |  | 66,755
Table 15 -- P18_Table_15
Long Causeway - Leeds.Ref | Long Causeway - Leeds.Description | Long Causeway - Leeds.Quantity | Long Causeway - Leeds.Unit | Long Causeway - Leeds.Rate | Long Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Ceiling Finishes Lay in grid suspended ceilings to wc areas | 72 | m2 | 35.00 | 2,520 | 3.3.1 | Finishes to ceilings | 65.2% | 3.3.1 | Finishes to ceilings | EF_30_30_15 | Ceiling finish systems
| Total |  |  |  | 2,520
Table 16 -- P19_Table_16
Ref | Description | Quantity | Unit | Rate | Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Mechanical Services |  |  |  |  | 5.6.1 | Central heating | 100.0% | 5.13.3 | Specialist mechanical | EF_75_60 | External services
| Hot and cold water installation per Unit | 6 | nr | 10,000.00 | 60,000 | 5.4.3 | Hot water distribution | 64.5% | 5.4.3 | Hot water distribution | EF_40_20_40 | Hot water distribution
| Mechanical Ventilation installation per Unit | 6 | nr | 5,000.00 | 30,000 | 5.7.1 | Central ventilation | 65.1% | 5.7.1 | Central ventilation | EF_55_30_15 | Central ventilation
| Sanitaryware and above ground drainage to Acc Washrooms | 6 | nr | 5,000.00 | 30,000 | 8.6.1 | Surface water and foul water drainage | 61.1% | 8.6.1 | Surface/foul water drainage | EF_50_10_30 | Foul drainage above ground
| Sanitaryware and above ground drainage to Clearers Cupd | 6 | nr | 750.00 | 4,500 | 5.3.1 | Foul drainage above ground | 61.5% | 5.3.1 | Foul drainage above ground | EF_50_10 | Foul drainage
| Sanitaryware and above ground drainage to WC's | 12 | nr | 2,500.00 | 30,000 | 5.3.1 | Foul drainage above ground | 61.7% | 5.3.1 | Foul drainage above ground | EF_50_10_30 | Foul drainage above ground
| Allowance for BWIC Mechanical Services@5% |  |  | 5.00 | 7,725 | 5.14.1 | Builder’s work in connection with services | 50.5% | 5.2 | Services Equipment
| Total |  |  |  | 162,225
Table 17 -- P20_Table_17
Ref | Description | Quantity | Unit | Rate | Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| Electrical Services |  |  |  |  | 5.8.1 | Electrical mains and sub-mains distribution | 100.0% | 5.8 | Electrical | EF_60_10 | Electrical supply
| Distribution cabling & switchgear | 4,523 | m2 | 17.00 | 76,891 | 5.13.1 | Specialist piped supply installations | 40.6% | 5.10 | Vertical Transportation | EF_60_10_25 | Electrical distribution
| General power installation | 4,523 | m2 | 6.50 | 29,400 | 5.8.2 | Power installations | 84.3% | 5.8.2 | Power installations | EF_60_10_65 | Power installations
| Lighting to warehouse, office areas and emergency lighting | 4,523 | m2 | 20.00 | 90,460 | 5.8.3 | Lighting installations | 67.0% | 5.8.3 | Lighting installations | EF_60_30_45 | Lighting installations
| External lighting | 4,523 | m2 | 8.00 | 36,184 | 8.7.9 | External street lighting systems | 76.9% | 5.8.3 | Lighting installations | EF_60_30 | Lighting
| CCTV installation | 4,523 | m2 | 1.50 | 6,785 | 5.12.2 | Security systems | 71.6% | 5.13 | Specialist Installations
| Fire detection & alarm systems | 4,523 | m2 | 17.00 | 76,891 | 5.11.1 | Fire fighting systems | 73.7% | 5.11.2 | Fire suppression systems | EF_70_10_32 | Fire fighting systems
| Lightning protection system | 4,523 | m2 | 2.80 | 12,664 | 5.11.1 | Fire fighting systems | 64.0% | 5.11.3 | Lightning protection | EF_70_20_50 | Lightning protection systems
| Containment | 4,523 | m2 | 4.50 | 20,354 | 1.1.1 | Standard foundations | 44.4% | 2.1 | Structure | EF_60_50 | Security
| Allowance for PV installation | 1 | IT | 60,000.00 | 60,000 | 5.8.2 | Power installations | 37.9% | 5.8.2 | Power installations | EF_60_10_65 | Power installations
| Allowance for electrical vehicle chargers (allow for 1nr rapid charger and 1nr standard charger per Unit) | 6 | nr | 30,000.00 | 180,000
| Allowance for BWIC Electrical Services@5% |  |  | 5.00 | 29,481 | 5.14.1 | Builder’s work in connection with services | 51.9% | 10.1 | Main contractor's overheads
| Total |  |  |  | 619,110
Table 18 -- P21_Table_18
Ref | Description | Quantity | Unit | Rate | Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| External Works and Drainage |  |  |  |  | 8.6.1 | Surface water and foul water drainage | 86.8% | 8.6 | External Drainage | EF_75_50 | External drainage
| External Works |  |  |  |  | 8.7.1 | Water mains supply | 69.0% | 8 | External Works | EF_75_60 | External services
| New tarmac access road; including excavation, Type 1 sub-base, kerbs, etc | 1,158 | m2 | 180.00 | 208,440 | 1.1.4 | Basement excavation | 49.0% | 8.2.2 | Paths and pavings | EF_75_20_60 | Paths and pavings
| New tarmac service yards; including excavation, Type 1 sub-base, kerbs, etc | 1,023 | m2 | 180.00 | 184,140 | 1.1.4 | Basement excavation | 51.6% | 5.2 | Services Equipment | EF_20_05_65 | Pile foundations
| Parking Areas - block paved or tarmac; including excavation, Type 1 sub-base, kerbs, etc | 608 | m2 | 120.00 | 72,960 | 8.2.1 | Roads, paths and pavings | 48.7% | 8.2.1 | Roads and car parks | EF_75_20_70 | Roads and car parks
| Concrete slab for new sub-station; including excavation, Type 1 sub-base, kerbs, etc | 58 | m2 | 120.00 | 6,960 | 1.1.1 | Standard foundations | 63.1% | 1.2.2 | Basement construction | EF_20_10_20 | Concrete frames
| Paved areas to front of house - slab/block paving or tarmac; including excavation, Type 1 sub-base, kerbs, etc | 668 | m2 | 110.00 | 73,480 | 8.2.1 | Roads, paths and pavings | 60.6% | 8.2.2 | Paths and pavings | EF_75_20_60 | Paths and pavings
| Paved areas to rear & sides of building; including excavation, Type 1 sub-base, kerbs, etc | 458 | m2 | 90.00 | 41,220 | 8.2.1 | Roads, paths and pavings | 54.4% | 8.2.2 | Paths and pavings | EF_75_20_60 | Paths and pavings
| Retaining walls; assumed average 1.5m high | 230 | m2 | 275.00 | 63,250 | 8.4.3 | Retaining walls | 75.2% | 2.3.1 | External walls above ground | EF_25_10 | External walls
| Allowance for additional excavation into bank for new retaining walls and disposal off site | 1 | IT | 10,000.00 | 10,000 | 8.4.3 | Retaining walls | 59.6% | 5.3 | Disposal Installations | EF_20_05_65 | Pile foundations
| Clear debris, prune trees/shrubbery and generally tidy up area to North West of site | 806 | m2 | 2.50 | 2,015 | 8.3.1 | Seeding and turfing | 46.9% | 8.3 | Soft Landscaping | EF_75_30 | Soft landscaping
| Cut down existing tree to North West corner and remove tree stump | 1 | nr | 400.00 | 400 | 7.1.1 | Minor demolition and alteration works | 36.9% | 7.1 | Minor demolition and alteration works
| Clear debris, prune trees/shrubbery and generally tidy up area to front of site along A63 | 675 | m2 | 2.50 | 1,688 | 7.1.1 | Minor demolition and alteration works | 42.8% | 7.5 | Cleaning existing surfaces | EF_75_10 | Site preparation
| Allowance for white lining/road markings | 1 | IT | 5,000.00 | 5,000 | 8.2.1 | Roads, paths and pavings | 44.1% | 8.2 | Roads and Pavings | EF_75_20 | Roads and pavings
| Cycle hoops | 13 | nr | 100.00 | 1,300 |  |  |  | 2.6.2 | Hatches | EF_65_10 | Lifts
| New entrance gates; manual swing gates | 1 | IT | 20,000.00 | 20,000 | 2.8.1 | Internal doors | 43.2% | 2.6.1 | Internal doors | EF_25_40 | Doors and access
| Allowance for new signage/totem bases (signage not included) | 1 | IT | 10,000.00 | 10,000 | 4.1.4 | Signs/notices | 41.2% | 4.1.4 | Signs and notices | EF_35_10_72 | Signage
| Drainage |  |  |  |  | 5.3.1 | Foul drainage above ground | 100.0% | 8.6 | External Drainage | EF_50_10 | Foul drainage
| Surface and foul water drainage to new Units | 3,741 | m2 | 15.00 | 56,115 | 8.6.1 | Surface water and foul water drainage | 86.4% | 8.6.1 | Surface/foul water drainage | EF_75_50_80 | Surface water drainage
| Surface water drainage to hard paved external areas | 3,973 | m2 | 20.00 | 79,460 | 8.6.1 | Surface water and foul water drainage | 80.9% | 8.6 | External Drainage | EF_75_50_80 | Surface water drainage
| Allowance for stormwater attenuation | 1 | IT | 100,000. 00 | 100,000 | 5.4.1 | Mains water supply | 38.5% | 5.4 | Water Installations | EF_75_50_80 | Surface water drainage
| Total |  |  |  | 936,428
Table 19 -- P22_Table_19
Long Causeway - Leeds.Ref | Long Causeway - Leeds.Description | Long Causeway - Leeds.Quantity | Long Causeway - Leeds.Unit | Long Causeway - Leeds.Rate | Long Causeway - Leeds.Total £ | NRM Code | NRM Description | Match Confidence | ICMS Code | ICMS Description | Uniclass Code | Uniclass Description
| External Services |  |  |  |  | 8.7.1 | Water mains supply | 100.0% | 8.7 | External Services | EF_75_60 | External services
| Allowance for diversion work to electrical services/relocation of sub-station | 1 | IT | 100,000. 00 | 100,000 | 5.8.1 | Electrical mains and sub-mains distribution | 45.2% | 1.1.5 | Temporary diversion works | EF_60_10_25 | Electrical distribution
| Allowance for diversion work to existing water supply | 1 | IT | 10,000.00 | 10,000 | 5.4.1 | Mains water supply | 57.0% | 8.7.1 | Water mains supply | EF_40_10 | Cold water supply
| Allowance for new electrical supply into each Unit | 6 | nr | 2,500.00 | 15,000 | 5.8.1 | Electrical mains and sub-mains distribution | 49.3% | 8.7.2 | Electricity mains supply | EF_60_10 | Electrical supply
| Allowance for new water supply to each Unit | 6 | nr | 1,000.00 | 6,000 | 8.7.1 | Water mains supply | 66.7% | 8.7.1 | Water mains supply | EF_40_10 | Cold water supply
| Allowance for new Telecom supply to each Unit | 6 | nr | 1,000.00 | 6,000 | 8.7.6 | Telecommunications and other communication system connections | 45.1% | 8.7.4 | Telecoms and other services | EF_60_40_80 | Telecoms and data
| Total |  |  |  | 137,000
[Extracted via Docling AI (TableFormer) ¦ NRM / ICMS / Uniclass matching via sentence-transformers]