## Extracted Tables
Table 1 -- P2_Table_1
OVERALL PROJECT ELEMENTAL ANALYSIS. | OVERALL PROJECT ELEMENTAL ANALYSIS.Element | OVERALL PROJECT ELEMENTAL ANALYSIS.% | OVERALL PROJECT ELEMENTAL ANALYSIS.Elemental Cost £ | OVERALL PROJECT ELEMENTAL ANALYSIS.Cost / m² Gross £ | OVERALL PROJECT ELEMENTAL ANALYSIS.Cost / ft² Gross £ | OVERALL PROJECT ELEMENTAL ANALYSIS.% | NRM Code | NRM Description | Match Confidence
1 | SUBSTRUCTURE |  |  |  |  | 4.8% | 1.1.1 | Standard foundations | 1
| 1.10 Substructure |  | 1,098,150 | 141.70 | 13.16 | 4.8% | 1.1.1 | Standard foundations | 0.818
2 | SUPERSTRUCTURE |  | 8,685,640 |  |  | 37.8% | 2.1.1 | Steel frames | 0.54
| 2.10 Frame |  | 3,381,540 | 436.32 | 40.54 | 14.7% | 2.1.1 | Steel frames | 0.732
| 2.20 Upper floors |  | 23,040 | 2.97 | 0.28 | 0.1% | 2.2.1 | Floors | 0.763
| 2.30 Roof |  | 214,520 | 27.68 | 2.57 | 0.9% | 2.3.1 | Roof structure | 0.644
| 2.40 Stairs and ramps |  | 307,500 | 39.68 | 3.69 | 1.3% | 2.4.1 | Stair/ramp structures | 0.727
| 2.50 External Walls |  | 4,257,930 | 549.40 | 51.04 | 18.5% | 2.7.1 | Walls and partitions | 0.687
| 2.60 Windows and external doors |  | 18,000 | 2.32 | 0.22 | 0.1% | 2.6.2 | External doors | 0.832
| 2.70 Internal walls and partitions |  | 297,110 | 38.34 | 3.56 | 1.3% | 2.7.1 | Walls and partitions | 0.765
| 2.80 Internal doors |  | 186,000 | 24.00 | 2.23 | 0.8% | 2.8.1 | Internal doors | 0.819
3 | INTERNAL FINISHES |  | 1,524,680 |  |  | 6.6% | 3.1.1 | Wall finishes | 0.618
| 3.10 Wall finishes |  | 301,230 | 38.87 | 3.61 | 1.3% | 3.1.1 | Wall finishes | 0.779
| 3.20 Floor finishes |  | 1,051,570 | 135.69 | 12.61 | 4.6% | 3.2.1 | Finishes to floors | 0.802
| 3.30 Ceiling finishes |  | 171,880 | 22.18 | 2.06 | 0.7% | 3.3.1 | Finishes to ceilings | 0.774
4 | FITTINGS, FURNISHINGS AND EQUIPMENT |  |  |  |  | 1.2% | 4.1.1 | General fittings, furnishings and equipment | 0.961
| 4.10 Fittings and Fixtures |  | 281,220 | 36.29 | 3.37 | 1.2% | 4.1.2 | Domestic kitchen fittings and equipment | 0.48
5 | SERVICES |  | 6,135,480 |  |  | 26.7% | 8.7.1 | Water mains supply | 0.723
| 5.01 Sanitary appliances |  | - | - | 0.00 | 0.0% | 5.1.1 | Sanitary appliances | 0.766
| 5.02 Service equipment |  | 255,000 | 32.90 | 3.06 | 1.1% | 5.8.1 | Electrical mains and sub-mains distribution | 0.432
| 5.03 Disposal installations |  | 52,150 | 6.73 | 0.63 | 0.2% | 5.3.3 | Refuse disposal | 0.597
| 5.04 Water installations |  | - | - | 0.00 | 0.0% | 5.4.1 | Mains water supply | 0.817
| 5.05 Heat source |  | - | - | 0.00 | 0.0% | 5.5.1 | Heat source | 0.724
| 5.06 Space heating and air conditioning |  | 1,075,520 | 138.78 | 12.89 | 4.7% | 5.6.7 | Central air conditioning | 0.606
| 5.07 Ventilation systems |  | 1,107,020 | 142.84 | 13.27 | 4.8% | 5.7.1 | Central ventilation | 0.762
| 5.08 Electrical installations |  | 1,657,830 | 213.91 | 19.87 | 7.2% | 5.8.1 | Electrical mains and sub-mains distribution | 0.663
| 5.09 Gas and other fuel installations |  | - | - | 0.00 | 0.0% | 8.7.5 | Gas mains supply | 0.538
| 5.10 Lift and conveyor installations |  | 313,500 | 40.45 | 3.76 | 1.4% | 5.10.1 | Lifts and enclosed hoists | 0.696
| 5.11 Fire and lightning protection 5.12 Communications, security |  | 785,820 56,890 | 101.40 7.34 | 9.42 0.68 | 3.4% | 5.11.1 | Fire fighting systems | 0.593
| and control systems 5.13 Specialist installations |  |  |  |  | 0.2% | 5.13.4 | Specialist electrical/ electronic installations | 0.545
| 5.14 |  | 54,000 | 6.97 | 0.65 | 0.2%
| Builders's work in connection |  | 149,710 | 19.32 | 1.79 | 0.7% | 5.14.1 | Builder’s work in connection with services | 0.949
| 5.15 Testing and commissioning |  | 628,040 | 81.04 | 7.53 | 2.7%
6 | COMPLETE BUILDING AND BUILDING UNITS |  |  | 0.00 | 0.00 | 0.0% | 6.1.2 | Building units | 0.825
7 |  |  | 18,522,780 |  |  | 81%
-
| WORK TO EXISTING BUILDINGS |  | - | 0.00 | 0.00 | 0.0% | 6.1.1 | Complete buildings | 0.637
8 | EXTERNAL WORKS |  | 682,610 | 88.08 | 8.18 | 3.0% | 8.7.1 | Water mains supply | 0.69
9 | FACILITATING WORKS |  | 115,000 | 14.84 | 1.38 | 0.5% | 5.6.1 | Central heating | 0.404
SUB-TOTAL BUILDING | CONSTRUCTION COST | [5 empty] | 5.14.1 | Builder’s work in connection with services | 0.454
10 | On Costs Contractor's preliminaries | 15% | 2,818,490 | 363.67 | 33.79 | 12% | 5.14.1 | Builder’s work in connection with services | 0.381
11 | Main contractor's overheads and profit | 5% | 1,067,060 | 137.68 | 12.79 | 5% | 5.14.1 | Builder’s work in connection with services | 0.373
12 | Project / design team fees | Excluded | - | 0.00 | 0.00 | 0%
13 | Design development contingency | 3% | 560,210 | 72.28 | 6.72 | 2% | 5.14.1 | Builder’s work in connection with services | 0.373
14 | Inflation to Mid-Point | Excluded | - | 0.00 | 0.00 | 0%
TOTAL CONSTRUCTION COST | TOTAL CONSTRUCTION COST |  | 22,968,540 | 2,964 | 275 | 100% | 5.14.1 | Builder’s work in connection with services | 0.43
Table 2 -- P3_Table_2
1.1 | Detailed Analysis of Costs.Description Substructure | Detailed Analysis of Costs. | Quantity. | Unit Rate. | / £. | Total /.£ | NRM Code | NRM Description | Match Confidence
| Substructure | [5 empty] | 1.1.1 | Standard foundations | 1
| Cut / Fill Floor Raft Slab |  | 1,287 | m3 | 55 | 70,806 | 2.2.1 | Floors | 0.576
| Cut to formation level; 1,000mm Ground Bulk excavation to External Works | 1 0.6 | 542 | m3 | 55 | 29,825 | 1.1.3 | Lowest floor construction | 0.543
| Disposal off site, inert material (Assume cut can be used as fill) |  | 1,830 | m3 | 45 67 | 82,335 Excluded | 5.3.3 | Refuse disposal | 0.604
| - e/o for contaminated, non-hazardous; - e/o for contaminated, hazardous; |  | - - | m3 m3 | 343 | Excluded
| Allowance for removal of surface water from excavations |  |  | Item | 5,000 | 5,000 | 8.6.1 | Surface water and foul water drainage | 0.594
| Allowance for removal of obstructions from excavations |  | 1 |  |  |  | 1.1.4 | Basement excavation | 0.536
|  |  | 1 | Item | 10,000 | 10,000
| Ground Floor Slab | [5 empty] | 1.1.1 | Standard foundations | 1
reinforcement; | Ground floor RC raft foundation slab; 1,000mm thick RC slabs; 100kg/m3 including waterproofing; including blinding and insulation |  | 1,287 | m2 | 647 | 832,478 | 1.1.1 | Standard foundations | 0.557
| Allowance for Gas Membrane; Taped Visqueen Gas Membrane | Assume Not Required |  |  |  | Excluded
| Allowance for strengthening 100mm Hardcore to soft spots | 0.25 | 322 | m3 | 55 | 17,702
| Crane bases Crane bases; allowance |  |  | nr | 40,000 | 40,000 | 2.2.1 | Floors | 0.36
| Lift pits Lift pits; allowance |  | 1 |  |  |  | 5.10.1 | Lifts and enclosed hoists | 0.467
| Frame | Formed Above Ground | 2 | nr | 5,000 | 10,000 | 2.1.1 | Steel frames | 1
|  |  |  | m2 | 167 | 1,220,215
2.1
CLT | Frame CLT, Glulam and Steel Frame Non-visual Material; predominantly whitewood spruce Non-Visual CLT; including |  | 7,311 |  |  |  | 2.1.5 | Timber frames | 0.562
| associated proprietary fixing brackets, screws and sealing tapes e/o for one side Industrial Visual Material; BC lamellas |  | 7,311 | m2 | 13 | 96,045 | 5.13.3 | Specialist mechanical installations | 0.387
Glulam: | Breather Membrane to CLT; floors and roof design, management, manufacture, supply and delivery; Whitewood spruce |  | 6,707 | m2 | 14 1,562 | 92,425 1,293,440 | 5.7.1 | Central ventilation | 0.416
| glulam |  | 828 | m2 |  |  | 2.6.1 | External windows | 0.585
| Finishing Connections Structural Steel; Including |  | 1 3 | item tn | 32,910 | 32,910 | 2.1.1 | Steel frames | 0.657
| Intumescent Paint Concrete drilling and resins to the concrete core; M16x125 |  | 528 | nr | 5,372 39 | 18,425 | 2.1.4 | Concrete frames | 0.408
| Cast in plates; connections between concrete core and structural beam |  | 1 | item | 16,945 | 20,485 16,945 | 2.1.4 | Concrete frames | 0.493
| Erection of Frame |  | 1 | item | 295,325 | 295,325 | 2.1.1 | Steel frames | 0.647
| Supply and fit of level 5 timber pergola; Larch |  | 1 |  |  |  | 2.1.5 | Timber frames | 0.553
| timber |  |  | item | 27,450 | Excluded | 2.1.5 | Timber frames | 0.83
2.2 | Upper floors | [5 empty] | 2.2.1 | Floors | 1
| Upper Floors 2.1 | [5 empty] | 2.2.1 | Floors | 0.825
| Timber CLT soffit, exposed finish - included in section | [5 empty] | 7.6.4 | Timber repairs | 0.481
| Slabs - First and Second Floor Slabs 250mm thick reinforced concrete; 200kg/m³ reinforcement; assumed |  |  |  |  | Included | 2.2.1 | Floors | 0.702
| RC C50/C60 concrete grade |  | 142 | m2 | 162 | 23,040 | 2.1.4 | Concrete frames | 0.464
2.3 | Roof | [5 empty] | 2.3.1 | Roof structure | 0.811
| Roof | [5 empty] | 2.3.1 | Roof structure | 0.811
Generally
| CLT roof deck included in section 2.2 |  | 1,079 | m2 | 150 | Included 161,804 | 2.3.1 | Roof structure | 0.502
| Generally - finishes to roof e/o for Green Roof |  | 1 |  |  | Excluded 25,000 | 2.3.2 | Roof coverings | 0.763
Mansafe Rainwater | Ancillaries system including anchor points installations |  | 197 | nr m | 25,000 90 | 17,712 | 2.3.1 | Roof structure | 0.356
Table 3 -- P4_Table_3
Detailed Analysis of Costs. | Detailed Analysis of Costs.Description | Detailed Analysis of Costs. | Detailed Analysis of Costs.Quantity | Detailed Analysis of Costs.Unit Rate | Detailed Analysis of Costs.£ | Detailed Analysis of Costs.Total / £ | NRM Code | NRM Description | Match Confidence
Other:
| Lift Overun included in section 2.2 Allowance for access hatch to roof |  | 1 | nr | 10,000 | Included 10,000 | 5.10.1 | Lifts and enclosed hoists | 0.527
2.4 | Stairs and ramp | [5 empty] | 2.4.1 | Stair/ramp structures | 0.863
| Stairs and Ramp | [5 empty] | 2.4.1 | Stair/ramp structures | 0.863
| Precast concrete stair to core; includes all finishes PCC stairs, landings, handrails &balustrading |  | 5 | stry | 11,500 | 57,500 | 2.4.2 | Stair/ramp finishes | 0.617
| Feature Timber Stair; including all finshes | [5 empty] | 2.4.1 | Stair/ramp structures | 0.628
| Steel stair cladded in timber; including timber handrails &steel balustrading double landing |  | 5 | stry | 50,000 | 250,000 | 2.4.3 | Stair/ramp balustrades and handrails | 0.692
2.5 | External walls | [5 empty] | 2.7.1 | Walls and partitions | 0.863
| External Walls | [5 empty] | 2.5.1 | External enclosing walls above ground level | 1
| Solid Façade Groud Floor - Massangis Beige Brick; 600x450x102 |  | 221 | m2 | 961 | 212,640 | 2.2.1 | Floors | 0.477
| Solid Façade - Polycor Natural Stone Brick; Earth Blend; 215x102.5x65 |  | 1,281 | m2 | 917 | 1,174,817 | 7.6.1 | Masonry repairs | 0.502
| Allowance for deep reveals; Polycor Brick Natural Stone Brick; Earth Blend; 215x102.5x65 |  | 523 | m2 | 917 | 479,169 | 8.1.2 | Preparatory groundworks | 0.372
| Mesh Enclosure to Roof Plant Area | Assumed 1.5m High | 102 | m2 | 550 | 56,100 | 2.3.1 | Roof structure | 0.601
| Ground floor plant louvered extract |  | 32 | m2 | 800 | 25,344 | 1.1.3 | Lowest floor construction | 0.474
| Enhanced finish to soffit of ground floor entrance |  | 75 | m2 | 1,000 | 75,000 | 3.2.1 | Finishes to floors | 0.6
| Timber Cladding to Entrance Columns; Ground floor |  | 17 | m2 | 650 | 10,725 | 2.1.5 | Timber frames | 0.52
| Glazing | [5 empty] | 2.6.1 | External windows | 1
| Curtain Walling to Ground Floor |  | 358 | m2 | 1,200 | 430,056 | 1.1.3 | Lowest floor construction | 0.593
| Glazing; Aluminium Windows |  | 1,350 | m2 | 1,175 | 1,586,767 | 2.6.1 | External windows | 0.605
| E/O Glass to glass corner detail |  | 76 | m | 1,000 | 75,600 | 8.4.2 | Walls and screens | 0.439
| Terrace Area - Level 5 Allowance for brick parapet |  | 128 | m2 | 917 | 117,009 | 2.2.1 | Floors | 0.395
2.6 | Windows and external doors | [5 empty] | 2.6.2 | External doors | 1
| Windows and other glazed systems | [5 empty] | 2.6.1 | External windows | 0.481
| External Doors; Assumed | [5 empty] | 2.6.2 | External doors | 0.916
| e/o Entrance Sliding Doors - Double; Fully Glazed; Automated |  | 2 | nr | 3,000 | 6,000 | 2.6.2 | External doors | 0.597
| e/o Ground Floor Doors; Single |  | 4 | nr | 200 | 800 | 2.6.2 | External doors | 0.626
| e/o Ground Floor Louvred Doors to Plant; Double |  | 1 | nr | 200 | 200 | 2.6.2 | External doors | 0.572
| e/o Ground Floor Doors to Refuse/Cycle Store; Single |  | 4 | nr | 250 | 1,000 | 2.6.2 | External doors | 0.6
2.7 | Internal walls and | [5 empty] | 2.7.1 | Walls and partitions | 0.974
| Internal walls and partitions | [5 empty] | 2.7.1 | Walls and partitions | 0.892
| Composite Item, dividing walls; stud partition, frame, insulation, plasterboard | [5 empty] | 2.1.1 | Steel frames | 0.492
115
| e/o External Door to Level 5 Terrace Area; Double; Fully Glazed |  | 4 | nr | 2,500 | 10,000 | 2.6.2 | External doors | 0.541
| partitions | [5 empty] | 2.7.1 | Walls and partitions | 1
| Core Wall Lining; Plasterboard |  | 680 | m2 | 55 | 37,397 | 2.7.1 | Walls and partitions | 0.492
| Remaining Core Walls; Included in Seciton 2.2 - CLT |  | 1,386 | m2 |  | Excluded | 2.7.1 | Walls and partitions | 0.493
| WCPartitioning |  | 514 | m2 | 110 | 56,530
| e/o moisture board to WCand showers |  | 1,027 | m2 | 15 | 15,410 | 5.4.1 | Mains water supply | 0.451
| Perimeter Wall Lining; Plasterboard |  | 1,502 | m2 | 85 | 127,702 | 2.7.1 | Walls and partitions | 0.484
| Blockwork to BOH area; Ground Floor |  | 495 | m2 | 95 | 46,986 | 1.1.3 | Lowest floor construction | 0.653
| Allowance for durasteel to substation |  | 52 | m2 | 250 | 13,082 | 8.7.4 | Electricity distribution to external plant and equipment | 0.367
Table 4 -- P5_Table_4
Detailed Analysis of Costs. | Detailed Analysis of Costs.Description | Detailed Analysis of Costs. | Detailed Analysis of Costs.Quantity Unit | Detailed Analysis of Costs.Rate / £ | Detailed Analysis of Costs. | Detailed Analysis of Costs.Total / £ | NRM Code | NRM Description | Match Confidence
2.8 | Internal doors | [5 empty] | 2.8.1 | Internal doors | 1
| Internal doors | [5 empty] | 2.8.1 | Internal doors | 1
| Commercial | [5 empty] | 5.12.2 | Security systems | 0.4
| Doorsets; to include frame, leaf, ironmongery and decoration Corridor Doors; Single Leaf |  | 42 | nr | 1,200 | 50,400 | 2.6.2 | External doors | 0.55
| Plant Doors; Double Leaf |  | 12 | nr | 2,500 | 30,000 | 2.6.2 | External doors | 0.52
| Riser Doors ; FD120S; Assumed Double |  | 12 | nr | 2,500 | 30,000 | 2.6.2 | External doors | 0.483
| WCDoors; Single Leaf |  | 48 | nr | 1,200 | 57,600 | 2.8.1 | Internal doors | 0.368
| Stair Core; Single Leaf |  | 6 | nr | 1,500 | 9,000 | 2.4.1 | Stair/ramp structures | 0.521
| Plant Doors; Singel Leaf |  | 6 | nr | 1,500 | 9,000 | 2.8.1 | Internal doors | 0.483
3.1 | Wall finishes | [5 empty] | 3.1.1 | Wall finishes | 1
| Wall finishes | [5 empty] | 3.1.1 | Wall finishes | 1
Composite Item
| Allowance for fire retardant clear lacquer; Walls and Columns |  | 4,441 | m2 | 20 | 88,825 | 5.11.1 | Fire fighting systems | 0.405
| Allowance for Painted wall finish |  | 4,094 | m2 | 12 | 49,123 | 3.1.1 | Wall finishes | 0.604
| Painted Wall to WC&Showers |  | 514 | m2 | 90 | 46,231 | 2.7.1 | Walls and partitions | 0.417
| Tiled Wall Finishes to WC&Showers |  | 514 | m2 | 150 | 77,051 | 3.2.1 | Finishes to floors | 0.446
| E/o for enhanced finish to the entrance / reception |  | 1 | Item | 40,000 | 40,000 | 3.3.1 | Finishes to ceilings | 0.392
3.2 | Floor finishes | [5 empty] | 3.2.1 | Finishes to floors | 1
| Floor finishes | [5 empty] | 3.2.1 | Finishes to floors | 1
| Communal areas Raised Access Flooring; 150mm |  | 7,190 | m2 | 60 | 431,389 | 3.2.2 | Raised access floors | 0.757
| Allowance for 38mm ply board |  | 6,463 | m2 | 20 | 129,254
| Allowance for resilient layer; Assumed GenieMat FF25 25mm |  | 6,463 | m2 | 58 | 374,836
| Carpet; to office area |  | 6,466 | m2 | 35 | Excluded | 2.2.1 | Floors | 0.532
| Tiled porcelain flooring to bathroom areas |  | 210 | m2 | 120 | 25,184 | 2.2.1 | Floors | 0.41
| Enhanced finish to circulation space; stair core; Ground Reception to first floor |  | 273 | m2 | 250 | 68,335 | 1.1.1 | Standard foundations | 0.505
| Carpet to circulation space; stair core; second to fifth |  | 154 | m2 | 35 | 5,375 | 2.4.1 | Stair/ramp structures | 0.521
|  |  | 248 | m2 | 15 | 3,721
| Painted finish to BOH Areas | [5 empty] | 3.2.1 | Finishes to floors | 0.528
| Screed to communal areas |  | 337 | m2 | 40 | 13,479 | 8.3.1 | Seeding and turfing | 0.382
3.3 | Ceiling finishes | [5 empty] | 3.3.1 | Finishes to ceilings | 1
| Ceiling finishes | [5 empty] | 3.3.1 | Finishes to ceilings | 1
| Composite Item Allowance for specialist CLT Ceiling Finish - exposed CLT soffit to all areas; excluding |  | 7,540 | m2 | 20 | 150,804 | 3.3.1 | Finishes to ceilings | 0.513
| Acoustic Rafts | WC's |  |  |  | Excluded | 2.4.4 | Ladders/chutes/slides | 0.396
| Suspended ceiling to bathroom area |  | 210 | m2 | 50 | 10,494 | 2.2.1 | Floors | 0.529
| Painted plasterbaord to WC&Shower area |  | 210 | m2 | 15 | 3,148
| e/o moisture board to showers |  | 210 | m2 | 15 | 3,148 | 5.4.1 | Mains water supply | 0.415
| Allowance for durasteel to substation |  | 17 | m2 | 250 | 4,283 | 8.7.4 | Electricity distribution to external plant and equipment | 0.367
4.1 | General fittings, furnishings and equipment | [5 empty] | 4.1.1 | General fittings, furnishings and equipment | 1
| General FF&E | Bathroom |  |  |  |  | 2.1.6 | Specialist frames | 0.353
WC- Self Contained Unisex
| Toilet Unit |  | 27 | nr | 329 | 8,883 | 5.1.1 | Sanitary appliances | 0.557
| Handwash basin &tap |  | 27 | nr | 357 | 9,639 | 5.4.1 | Mains water supply | 0.412
| Mirror |  | 27 | nr | 214 | 5,778 | 5.12.2 | Security systems | 0.37
| Hand dryer Misc. Toilet brush, toilet roll holder |  | 27 | nr | 910 | 24,557 | 5.1.1 | Sanitary appliances | 0.505
| Boxing out to toilet |  | 27 | nr | 76 | 2,054 | 5.3.1 | Foul drainage above ground | 0.398
| Vanity top to worktop |  | 27 27 | nr nr | 696 589 | 18,779 15,890
|  |  | 27 | nr | 39 | 1,040
| Push Flush Plate |  | 27 | nr | 48 | 1,304
| Integrated soap dispenser Brushed Stainless steel bottle trap &Extension |  | 27 | nr | 54 | 1,455
| Allowance for connection, testing &Commissioning |  | 27 | nr | 600 | 16,200
Table 5 -- P6_Table_5
Description | Detailed Analysis of Costs. | Detailed Analysis of Costs.Quantity | Unit Rate | / £. | £./ | NRM Code | NRM Description | Match Confidence
WC- Self Contained Unisex - Oversized
Mirror | Large | 6 | nr | 375 | 2,247 | 5.12.2 | Security systems | 0.37
Small Mirror |  | 6 | nr | 214 | 1,284
Toilet Unit |  | 6 | nr | 329 | 1,974 | 5.1.1 | Sanitary appliances | 0.557
Washing Basin &Tap |  | 6 | nr | 357 | 2,142 | 5.4.1 | Mains water supply | 0.46
Hand dryer |  | 6 | nr | 910 | 5,457 | 7.5.1 | Cleaning | 0.39
Misc. Toilet brush, toilet roll holder |  | 6 | nr | 76 | 456 | 5.1.1 | Sanitary appliances | 0.491
Boxing out to toilet |  | 6 | nr | 696 | 4,173 | 5.3.1 | Foul drainage above ground | 0.398
Vanity top to worktop |  | 6 | nr | 589 | 3,531
Push Flush Plate |  | 6 | nr | 39 | 231
Integrated soap dispenser |  | 6 | nr | 48 | 290 | 5.1.1 | Sanitary appliances | 0.406
Brushed Stainless steel bottle trap &Extension |  | 6 | nr | 54 | 323
Allowance for connection, testing &Commissioning |  | 6 | nr | 600 | 3,600
WC- Self Contained Unisex | Acc.
Large Mirror |  | 7 | nr | 375 | 2,622
Small Mirror |  | 7 | nr | 214 | 1,498
Toilet Unit |  | 7 | nr | 329 | 2,303 | 5.1.1 | Sanitary appliances | 0.557
Washing Basin &Tap |  | 7 | nr | 357 | 2,499 | 5.4.1 | Mains water supply | 0.46
Wall-mounted grab rail |  | 7 | nr | 134 | 936
Hand dryer |  | 7 | nr | 910 | 6,367 | 7.5.1 | Cleaning | 0.39
Misc. Toilet brush, toilet roll holder |  | 7 | nr | 76 | 533 | 5.1.1 | Sanitary appliances | 0.491
Boxing out to toilet |  | 7 | nr | 696 | 4,869 | 5.4.1 | Mains water supply | 0.447
Vanity top to worktop |  | 7 | nr | 589 | 4,120
Push Flush Plate |  | 7 | nr | 39 | 270
Integrated soap dispenser |  | 7 | nr | 48 | 338 | 5.1.1 | Sanitary appliances | 0.406
Brushed Stainless steel bottle trap &Extension |  | 7 | nr | 54 | 377
Allowance for connection, testing &Commissioning |  | 7 | nr | 600 | 4,200
Contained Unisex Showers to Ground floor | Self |  |  |  |  | 1.1.3 | Lowest floor construction | 0.43
Shower Unit |  | 6 | nr | 2,486 | 14,915 | 6.1.2 | Building units | 0.469
Shower Tray |  | 6 | nr | 663 | 3,980 | 5.4.1 | Mains water supply | 0.365
Shower Screen |  | 6 | nr | 882 | 5,290 | 8.4.2 | Walls and screens | 0.461
Bench |  | 6 | nr | 321 | 1,926 | 5.10.1 | Lifts and enclosed hoists | 0.389
Mirror |  | 6 | nr | 214 | 1,284 | 5.12.2 | Security systems | 0.37
Misc. Hooks and dispensers |  | 6 | nr | 115 | 687
Brushed Stainless steel bottle trap &Extension |  | 6 | nr | 54 | 323
Allowance for connection, testing &Commissioning |  | 6 | nr | 600 | 3,600
Signage | [5 empty] | 4.1.4 | Signs/notices | 0.636
Statutory Signage |  | 1 | Item | 15,000 | 15,000 | 4.1.4 | Signs/notices | 0.55
Way finding signage |  | 1 | Item | 20,000 | 20,000 | 4.1.4 | Signs/notices | 0.525
Cycle Stores
Cycle racks |  | 56 | nr | 250 | 14,000
E-Bike stand |  |  | nr | 770 | Excluded | 2.1.4 | Concrete frames | 0.353
Euro Bins |  | 8 | nr | 1,000 | 8,000
Excluded
Parcels | [5 empty] | 2.2.1 | Floors | 0.352
Storage Racking |  |  |  |  | Excluded | 5.9.1 | Fuel storage | 0.521
Blinds To all windows |  |  |  |  | Excluded | 2.6.1 | External windows | 0.416
Kitchen Kitchenette or café |  |  |  |  | Excluded | 5.1.1 | Sanitary appliances | 0.477
Reception | [5 empty] | 5.12.1 | Communication systems | 0.48
Allowance for Reception Desk |  | 1 | item | 30,000 | 30,000
Allowance for Furniture to Entrance |  |  |  |  | Excluded | 4.1.3 | Special purpose fittings, furnishings and equipment | 0.4
Sanitary appliances | 5.01 |  |  |  |  | 5.1.1 | Sanitary appliances | 1
to FF&E | Refer
Table 6 -- P7_Table_6
Detailed Analysis of Costs. | Detailed Analysis of Costs.Description | Detailed Analysis of Costs.Quantity | Detailed Analysis of Costs.Unit | Detailed Analysis of Costs.Rate / £ | Detailed Analysis of Costs.Total / £ | NRM Code | NRM Description | Match Confidence
5.02 | Service equipment |  |  |  |  | 5.6.1 | Central heating | 0.672
| Domestic Services | 83,421 | ft2 |  | 255,005 | 5.8.1 | Electrical mains and sub-mains distribution | 0.546
5.03 | Disposal installations |  |  |  |  | 5.3.3 | Refuse disposal | 0.738
| Above Ground Drainage | 83,421 ft2 |  |  | 52,147 | 5.3.1 | Foul drainage above ground | 1
5.04 | Water installations |  |  |  | - | 5.4.1 | Mains water supply | 1
5.05 |  |  |  |  | -
5.06 | Space heating and air conditioning |  |  |  |  | 5.6.7 | Central air conditioning | 0.609
| 2 Pipe Hybrid VRF System | 83,421 | ft2 |  | 1,075,523 | 5.13.1 | Specialist piped supply installations | 0.444
5.07 | Ventilation systems |  |  |  |  | 5.7.1 | Central ventilation | 0.892
|  |  | ft2 |  | 1,001,053
| Mechanical Ventilation |  |  |  |  | 5.7.1 | Central ventilation | 0.88
| Ventilation Systems | 83,421 |  |  |  | 5.7.1 | Central ventilation | 0.892
| Ductwork | 83,421 | ft2 |  | Included | 5.7.1 | Central ventilation | 1
Dry Risers | Smoke Vent | 83,421 83,421 | ft2 ft2 |  | 76,976 28,991 | 5.7.1 | Central ventilation | 0.639
5.08 | Electrical installations |  |  |  |  | 5.8.1 | Electrical mains and sub-mains distribution | 0.872
| Electrical installations |  |  |  |  | 5.8.1 | Electrical mains and sub-mains distribution | 0.872
| Mains Distribution | 83,421 | ft2 |  | 471,689 | 5.8.1 | Electrical mains and sub-mains distribution | 0.754
| Main Electrical Containment Small Power | 83,421 83,421 | ft2 ft2 |  | 307,349 203,253 | 5.8.1 | Electrical mains and sub-mains distribution | 0.634
| Lighting | 83,421 | ft2 |  | 675,535 | 5.8.3 | Lighting installations | 1
5.09 | Gas and other fuel installations |  |  |  |  | 5.9.2 | Fuel distribution systems | 0.693
5.10 | Lift and conveyor installations |  |  |  |  | 5.10.1 | Lifts and enclosed hoists | 0.713
Firefighting | High Speed Passenger Lifts; | 18 | nr | 15,000 | 270,000 | 5.10.1 | Lifts and enclosed hoists | 0.705
| Additional lift door to firefighting lift | 6 | nr | 7,250 | 43,500 | 2.6.2 | External doors | 0.46
5.11 | Fire and lightning |  |  |  |  | 5.11.1 | Fire fighting systems | 0.725
| Sprinklers System |  | ft2 |  | 583,948 | 8.3.3 | Irrigation systems | 0.667
| Fire Detection | 83,421 | ft2 |  | 197,920 | 5.11.1 | Fire fighting systems | 0.675
| protection | 83,421 | nr | 2,500.00 |  | 7.5.2 | Protective coatings | 0.545
| Lightning Protection Fire Curtains to Primary Stair Core | 83,421 | ft2 |  | 3,950 Excluded | 5.11.2 | Fire suppression systems | 0.407
5.12 | Communications, security and control systems |  |  |  |  | 5.12.1 | Communication systems | 0.735
| CCTV / Data | 83,421 | ft2 |  | 12,247 | 5.12.1 | Communication systems | 0.378
| Access Control | 83,421 | ft2 |  | 31,999 | 5.12.2 | Security systems | 1
5.13 | Specialist installations |  |  |  |  | 5.13.3 | Specialist mechanical installations | 0.806
| Photovoltaic Panels | 120 |  |  | 54,000 | 2.5.3 | Solar/rain screening | 0.451
nr
83,421 ft2
5.14 | Builders' work in connection BWIC with M&E works | 3% |  | 4,990,226 | 149,707 | 5.14.1 | Builder’s work in connection with services | 0.707
and commissioning
| Electrical Testing and Commissioning Mechanical Testing and Commissioning | 83,421 | ft2 |  | 29,629 65,183 | 5.8.1 | Electrical mains and sub-mains distribution | 0.364
5.15 Testing | etc |  | ft2
| Mechanical &Electrical Preliminaries | 83,421 10% |  | 5,332,245 | 533,224 | 5.8.1 | Electrical mains and sub-mains distribution | 0.554
6 Complete | building and building units |  |  |  | - | 6.1.2 | Building units | 0.953
7 | Work to existing buildings |  |  |  |  | 6.1.1 | Complete buildings | 0.637
Table 7 -- P8_Table_7
Description | Detailed Analysis of Costs. | Detailed Analysis of Costs.Quantity | Unit | Rate /.£ | Total / £ | NRM Code | NRM Description | Match Confidence
External Works | [5 empty] | 8.7.1 | Water mains supply | 0.69
Hard Landscaping; Generally | [5 empty] | 8.3.1 | Seeding and turfing | 0.804
General Allowance |  | 609 | m2 | 250 | 152,253
Pedestrian Path |  | 79 | m2 | 220 | 17,424 | 8.2.1 | Roads, paths and pavings | 0.637
Block Paving to terrace |  | 247 | m2 | 250 | 61,753 | 8.2.2 | Special surfacings and pavings | 0.522
Soft Landscaping; Generally | [5 empty] | 8.3.1 | Seeding and turfing | 0.944
General Allowance |  | 295 | m2 | 150 | 44,217
Tables and Chairs |  | 1 | item | 15,000 | Excluded | 2.2.1 | Floors | 0.383
Trees |  | 14 | nr | 1,200 | 16,800 | 8.3.2 | External planting | 0.509
Allowance for 278 Works |  | 156 | m2 | 200 | 31,252
External Lighting |  | 983 | m2 | 80 | 78,639 | 8.7.9 | External street lighting systems | 0.769
Site drainage | [5 empty] | 8.6.1 | Surface water and foul water drainage | 1
Foul Water (Including excavation / cartaway) |  | 94 | m | 350 | 32,900 | 5.3.1 | Foul drainage above ground | 0.688
Surface Water; 150mm (Including excavation / cartaway) |  | 80 | m | 300 | 23,970 | 5.13.5 | Water features | 0.504
Surface Water; 225mm (Including excavation / cartaway) |  | 43 | m | 325 | 14,008 | 5.13.5 | Water features | 0.495
Surface Water; 375mm (Including excavation / cartaway) |  | 22 | m | 350 | 7,665 | 8.6.1 | Surface water and foul water drainage | 0.547
Surface Water Packing Pump Station; 14l/s |  | 1 | nr | 25,000 | 25,000 | 8.7.1 | Water mains supply | 0.488
Surface Water manhole |  | 6 | nr | 4,500 | 27,000 | 8.6.1 | Surface water and foul water drainage | 0.605
Foul Water sewer manhole |  | 13 | nr | 4,500 | 58,500 | 5.3.1 | Foul drainage above ground | 0.666
Linear Channel with Heelguard Grating |  | 65 | m | 210 | 13,734
Allowance for reuse of existing foul water outfall; including connections |  | 1 | item | 10,000 | 10,000 | 5.3.1 | Foul drainage above ground | 0.53
General allowance Demolition and |  | 150 | m3 | 450 | 67,500 | 0.1.3 | Eradication of plant growth | 0.692
Facilitating works | [5 empty] | 5.6.1 | Central heating | 0.404
alterations | [5 empty] | 7.1.1 | Minor demolition and alteration works | 0.462
General Site Clearance of Site Remains / Vegetation |  |  |  | Excluded | Excluded | 0.1.3 | Eradication of plant growth | 0.657
Incoming service connections and disconnections Electricity - Allowances | [5 empty] | 8.7.6 | Telecommunications and other communication system connections | 0.548
Electrical Supply installations |  | 1 | Item | 60,000 | 60,000 | 5.8.1 | Electrical mains and sub-mains distribution | 0.759
Substation |  | 1 | Item | Included | Included | 5.8.1 | Electrical mains and sub-mains distribution | 0.57
Gas | [5 empty] | 5.9.1 | Fuel storage | 0.508
Gas Disconnection / Connection for boilers (Not required) |  |  |  |  | Excluded | 5.5.1 | Heat source | 0.612
Potable Water | [5 empty] | 5.4.1 | Mains water supply | 0.588
Incoming Water Connection |  | 1 | Item | 30,000 | 30,000 | 5.4.1 | Mains water supply | 0.548
Potable Water - Reinforcement Works | [5 empty] | 5.4.1 | Mains water supply | 0.561
Upgrade of existing network |  |  |  |  | Excluded
Foul Water | [5 empty] | 8.6.1 | Surface water and foul water drainage | 0.752
Foul Water Connection | Existing Connection | 1 | Item | 10,000 | 10,000 | 5.3.1 | Foul drainage above ground | 0.577
BT / Hyperoptic / Virgin Media
BT or similar connection |  | 1 | Item | 15,000 | 15,000 | 5.14.1 | Builder’s work in connection with services | 0.426
Moving/relocating existing services | [5 empty] | 8.7.1 | Water mains supply | 0.458
General allowance
Excluded
Oversailing License Allowance General allowance - Excluded |  |  |  |  | Excluded
Table 8 -- P9_Table_8
Detailed Analysis of Costs.Description | Detailed Analysis of Costs.Description | Detailed Analysis of Costs.Description | Detailed Analysis of Costs.Unit Rate / £ | Detailed Analysis of Costs.Unit Rate / £ | Detailed Analysis of Costs.Total / £ | Detailed Analysis of Costs. | NRM Code | NRM Description | Match Confidence
10 | Contractor's preliminaries | Contractor's preliminaries |  |  |  |  | 5.14.1 | Builder’s work in connection with services | 0.507
| Main Contractors Preliminaries - assuming a programme overlap with the One Maidenhead residential scheme, utilising the same Main Contractor. Note - One Maidenhead completes Q3 2024 | 15% | 1 item | 18,522,760 | 2,818,487 |  | 5.14.1 | Builder’s work in connection with services | 0.381
11 | Main contractor's overheads and profit | Main contractor's overheads and profit | Main contractor's overheads and profit | Main contractor's overheads and profit | Main contractor's overheads and profit | Main contractor's overheads and profit | 5.14.1 | Builder’s work in connection with services | 0.373
| Main Contractors OH&P | 5% | 1 item | 21,341,247 | 1,067,062 |  | 5.14.1 | Builder’s work in connection with services | 0.524
12 | Project / design team fees | Project / design team fees | Project / design team fees | Project / design team fees | Project / design team fees | Project / design team fees
| Design fees (Excluded) |  | Excl |  | -
13 | Design development contingency | Design development contingency | Design development contingency | Design development contingency | Design development contingency | Design development contingency | 5.14.1 | Builder’s work in connection with services | 0.373
| Contractors Design Contingency - Likely %based upon RIBA Stage 3 information. Main Contractors Contingency | 2.50% | 1 item | 22,408,310 | 560,208 |  | 5.14.1 | Builder’s work in connection with services | 0.401
14 | Inflation | Inflation | Inflation | Inflation | Inflation | Inflation
| Inflation to Mid-Point of Construction as Q3 2023 |  |  | Excluded | -
Table 9 -- P10_Table_9
Area and Unit Shedule.Location.Location | Area and Unit Shedule..Office Area | Area and Unit Shedule.Circulation.Demising Walls | Area and Unit Shedule.Circulation.Stair Core | Area and Unit Shedule.Circulation.Lift Core | Area and Unit Shedule.Circulation.Lobby / Corridor / Reception | Area and Unit Shedule.Circulation.Riser | Area and Unit Shedule.Ancillary.Plant | Area and Unit Shedule.Ancillary.Retail A1/A5/B1/D1/D 2 | Area and Unit Shedule.Ancillary.WC | Area and Unit Shedule.External.BOH | Area and Unit Shedule.External.External Terrace Area | Area and Unit Shedule.Total.NIA | Area and Unit Shedule.Total.GIA | NRM Code | NRM Description | Match Confidence
| m2 | m2 | m2 | m2 | m2 | m2 | m2 | m2 | m2 | m2 | m2 | Total | Total
Ground Floor | 696 | 31 | 25 | 10 | 225 | 8 | 10 | 0 | 35 | 248 | 0 | 696 | 1,287 | 1.1.3 | Lowest floor construction | 0.838
Level 1 | 1,208 | 26 | 22 | 10 | 28 | 7 | 10 | 0 | 35 | 0 | 0 | 1,208 | 1,346 | 2.2.1 | Floors | 0.383
Level 2 | 1,208 | 26 | 22 | 10 | 28 | 7 | 10 | 0 | 35 | 0 | 0 | 1,208 | 1,346 | 2.2.1 | Floors | 0.375
Level 3 | 1,208 | 26 | 22 | 10 | 28 | 7 | 10 | 0 | 35 | 0 | 0 | 1,208 | 1,346 | 2.2.1 | Floors | 0.376
Level 4 | 1,208 | 26 | 22 | 10 | 28 | 7 | 10 | 0 | 35 | 0 | 0 | 1,208 | 1,346 | 2.2.1 | Floors | 0.378
Level 5 | 940 | 25 | 23 | 10 | 28 | 7 | 10 | 0 | 35 | 0 | 247 | 940 | 1,079 | 2.2.1 | Floors | 0.363
Level 6 - Roof | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 2.3.1 | Roof structure | 0.701
Total | 6,466 | 159 | 137 | 62 | 365 | 45 | 58 | 0 | 210 | 248 | 247 | 6,466 | 7,750
[Extracted via Docling AI (TableFormer) ¦ NRM matching via sentence-transformers]