## P1_Table_1
DESCRIPTION | QTY | UNIT | RATE £ | AMOUNT £
SUMMARY
BUILDING WORKS
Site Preparation | 1 | Item | 700,000.00 | 700,000.00
Construction of New Units:
Unit 510 | 1 | Item | 3,703,471.00 | 3,703,471.00
Unit 520 | 1 | Item | 3,422,507.00 | 3,422,507.00
External Works and Services:
Unit 510 | 1 | Item | 664,288.00 | 664,288.00
Unit 520 | 1 | Item | 574,033.00 | 574,033.00
Access Road and S278 Works Incl. £250k Stats Diversions | 1 | Item | 400,000.00 | 400,000.00
Ecology and Landscaping to SUDS Areas | 1 | Item | 150,000.00 | 150,000.00
|  |  | Sub Total | 9,614,299.00
MAIN CONTRACTOR PRELIMINARIES AND ON COSTS
Main contractor preliminaries (excl. DGS Ground modelling and SUDS works) | 36 | weeks | 14,000.00 | 504,000.00
Main contractorOHP@6% |  | 6.0% |  | 607,000.00
Building Regulations Fees, SBEM, EPC and air test | 1 | Item | 20,000.00 | 20,000.00
|  |  | Sub Total | 1,131,000.00
TOTAL MAIN CONTRACTOR COSTS £ | TOTAL MAIN CONTRACTOR COSTS £ | TOTAL MAIN CONTRACTOR COSTS £ | TOTAL MAIN CONTRACTOR COSTS £ | 10,745,299.00
FEES AND STATUTORY CHARGES
Planning application and planning consultant fees and reports: |  |  |  | 125,000.00
Surveys and Investigations: |  |  |  | 15,000.00
Project Manager, Architect, Quantity Surveyor, Civil/Structural Engineer and Principal Designer |  | 11.5% |  | 1,236,000.00
Sub Total | Sub Total | Sub Total | Sub Total | 1,376,000.00
TOTAL CONSTRUCTION COSTS AT CURRENT PRICES £ | TOTAL CONSTRUCTION COSTS AT CURRENT PRICES £ | TOTAL CONSTRUCTION COSTS AT CURRENT PRICES £ | TOTAL CONSTRUCTION COSTS AT CURRENT PRICES £ | 12,121,299.00
OTHER COSTS
BREEAM 'Outstanding' and Additional Reports: EPC 'A' | 1 | Item | 65,000.00 | 65,000.00
PV's and Sustainability Initiatives | 1 | Item | 100,000.00 | 100,000.00
Allowance for building costs inflation adjustment: materials procurement shortages: included in contingencies allowances |  |  |  | Incl.
Design risks and contingencies allowances |  | 10.0% |  | Excl.
|  |  | Sub Total | 165,000.00
TOTAL ESTIMATED COSTS £ | TOTAL ESTIMATED COSTS £ | TOTAL ESTIMATED COSTS £ | TOTAL ESTIMATED COSTS £ | 12,286,000.00
[Extracted via Docling AI (TableFormer)]

## P3_Table_2
REF | ELEMENT | QTY | UNIT | RATE £ | AMOUNT £
1.0 | SITE PREPARATION
1.01 | Cut and fill levels make-up: provisional | 1 | Item | 700,000.00 | 700,000.00
1.05 | Ground Engineering: Lime stabilisation | 1 | Item | 0.00 | 0.00
1.06 | Construction of offsite SUDS basins | 1 | Item | 0.00 | 0.00
| TOTAL SITE PREPARATION | TOTAL SITE PREPARATION | TOTAL SITE PREPARATION | TOTAL SITE PREPARATION | 700,000.00
[Extracted via Docling AI (TableFormer)]

## P4_Table_3
REF | ELEMENT | QTY | UNIT | RATE £ | AMOUNT £
1.0 | SUBSTRUCTURES
1.01 | Concrete pad foundations | 57 | No. | 1,250.00 | 71,250.00
1.02 | Lift pit | 1 | No. | 4,100.00 | 4,100.00
1.03 | Sub base to floor slab; trimming; blinding | 4,200 | m ² | 7.00 | 29,400.00
1.04 | Concrete floor slab edge detail | 260 | m | 110.00 | 28,600.00
1.05 | Ground bearing floor slab: incl. type 1 sub-base: 50kN/m²: FM2 special | 4,200 | m ² | 67.00 | 281,400.00
1.06 | Insulation to office area: extended to u/s offices (assumed mezzanine area only) | 317 | m ² | 25.00 | 7,925.00
1.07 | Wing walls to loading docks | 1 | Item | 20,000.00 | 20,000.00
|  |  |  | Sub Total | 442,675.00
2.0 | STRUCTURAL FRAME AND FLOORS
2.01 | Structural steel portal frame: 12m u/s haunch | 4,948 | m ² | 100.00 | 494,800.00
2.02 | Structural steel frame to loading canopy: cladding |  |  |  | Excl.
2.03 | Precast concrete floor: Level 1 and Level 2: fire protection | 634 | m ² | 180.00 | 114,120.00
2.04 | Concrete staircases and landings: flights | 4 | No. | 8,500.00 | 34,000.00
|  |  |  | Sub Total | 642,920.00
3.0 | ROOF AND WALL CLADDING
3.01 | Roof cladding:built up system incl. rooflights | 4,410 | m ² | 100.00 | 441,000.00
3.02 | Wall cladding: composite mineral fibre steel panels | 620 | m ² | 140.00 | 86,800.00
3.03 | Wall cladding: built up system | 3,099 | m ² | 90.00 | 278,910.00
3.04 | Canopy cladding incl. gutters and drain pipes | 1 | Item |  | Excl.
3.05 | Feature framing and cladding: main entrance feature | 1 | Item | 20,000.00 | 20,000.00
3.07 | Gutters | 1 | Item | 2,500.00 | 2,500.00
|  |  |  | Sub Total | 829,210.00
4.0 | CLADDING ANCILLARY WORKS
4.01 | Syponic primary and secondary drainage system and downpipes | 4,410 | m ² | 7.00 | 30,870.00
4.02 | Fall - arrest system | 1 | Item | 5,000.00 | 5,000.00
4.03 | Builder's works on services installations: penetrations and flashings | 1 | Item | 10,000.00 | 10,000.00
4.04 | Louvres | 1 | Item | 5,000.00 | 5,000.00
|  |  |  | Sub Total | 50,870.00
5.0 | ENVELOPE COMPLETIONS
5.01 | Curtain wall installation | 74 | m ² | 700.00 | 51,800.00
5.02 | Extra: main entrance door: DDA compliant | 1 | Item | 7,500.00 | 7,500.00
5.03 | Windows | 44 | m ² | 535.00 | 23,540.00
5.04 | Aluminium PPC brise soleil | 1 | Item | 30,000.00 | 30,000.00
5.05 | Dock levellers and wing walls etc incl. excavation | 4 | No. | 30,000.00 | 120,000.00
5.06 | Level access doors | 3 | No. | 6,500.00 | 19,500.00
[Extracted via Docling AI (TableFormer)]

## P5_Table_4
REF | ELEMENT | QTY | UNIT | RATE £ | AMOUNT £
5.07 | Fire escape door: single | 4 | No. | 1,800.00 | 7,200.00
|  |  |  | Sub Total | 259,540.00
6.00 | WALLS AND PARTITIONS
6.01 | Composite firewall: compartment wall to offices | 695 | m ² | 250.00 | 173,750.00
6.02 | Lift shall 'Shaftwall construction': roof over (225mm blockwork allowed) | 1 | Item | 12,000.00 | 12,000.00
6.03 | Metal stud walls | 449 | m ² | 65.00 | 29,185.00
6.04 | Metal stud walls: jumbo | 70 | m ² | 100.00 | 7,000.00
6.05 | Fire stopping incl. services penetrations: Generally | 1 | Item | 20,000.00 | 20,000.00
|  |  |  | Sub Total | 241,935.00
7.0 | INTERNAL COMPLETION
7.01 | Entrance mat and frame | 1 | Item | 1,500.00 | 1,500.00
7.02 | Floor screed and insulation | 77 | m ² | 85.00 | 6,545.00
7.03 | Ceramic floor tiling and skirting: levelling screeds | 33 | m ² | 85.00 | 2,805.00
7.04 | Raised access floors: fire breaks | 377 | m ² | 78.00 | 29,406.00
7.05 | Carpets and nosings | 484 | m ² | 40.00 | 19,360.00
7.06 | Vinyl flooring: kitchenettes and toilets | 125 | m ² | 40.00 | 5,000.00
7.07 | Dry lining: to perimeter walls and blockwork walls | 194 | m ² | 40.00 | 7,760.00
7.08 | Ceramic wall tiling: to toilets and showers | 49 | m ² | 60.00 | 2,940.00
7.09 | Ditto: splashbacks to kitchenettes: two courses high | 16 | m | 20.00 | 320.00
7.10 | MF plasterboard ceilings | 111 | m ² | 40.00 | 4,440.00
7.11 | Mineral fibre suspended ceiling: exposed grid | 254 | m ² | 40.00 | 10,160.00
7.12 | Decorations: plasterboard walls | 1,232 | m ² | 10.50 | 12,936.00
7.13 | Ditto: plasterboard ceilings | 111 | m 2 | 13.50 | 1,499.00
7.14 | Internal doors and frames: decorated: ironmongery, door furniture and signage: single | 18 | No | 1,350.00 | 24,300.00
7.15 | Ditto: leaf and a half | 3 | No | 1,750.00 | 5,250.00
7.16 | Sundry joinery: skirtings and window boards | 1 | Item | 7,500.00 | 7,500.00
7.17 | Fit kitchenette units, worktops: back panels | 3 | No. | 2,000.00 | 6,000.00
7.18 | IPS panels | 6 | No | 1,000.00 | 6,000.00
7.19 | Toilet cubicles | 1 | No | 1,250.00 | 1,250.00
7.20 | Balustrades and handrails: stainless steel: feature staircase: entrance lobby to first floor only | 1 | No. | 7,500.00 | 7,500.00
7.21 | Ditto: accomodation staircase | 1 | No. | 7,500.00 | 7,500.00
7.22 | Mirrors | 8 | No. | 100.00 | 800.00
7.23 | Air tightness works | 1 | Item | 20,000.00 | 20,000.00
7.24 | Insulation to office area: extended to u/s offices (assumed mezz area only) | 290 | m ² | 10.00 | 2,900.00
|  |  |  | Sub Total | 193,671.00
[Extracted via Docling AI (TableFormer)]

## P6_Table_5
REF | ELEMENT | QTY | UNIT | RATE £ | AMOUNT £
8.00 | MEP SERVICES INSTALLATIONS
8.01 | MEP services installations incl Rockpower fee | 635 | m ² | 1,590.00 | 1,009,650.00
6.02 | Lift installation: 3 levels | 1 | No. | 33,000.00 | 33,000.00
|  |  |  | Sub Total | 1,042,650.00
TOTAL BUILDING | TOTAL BUILDING | TOTAL BUILDING | TOTAL BUILDING | TOTAL BUILDING | 3,703,471.00
[Extracted via Docling AI (TableFormer)]

## P7_Table_6
REF | ELEMENT | QTY | UNIT | RATE £ | AMOUNT £
1.0 | SUBSTRUCTURES
1.01 | Concrete pad foundations | 48 | No. | 1,250.00 | 60,000.00
1.02 | Lift pit | 1 | No. | 4,100.00 | 4,100.00
1.03 | Sub base to floor slab; trimming; blinding | 3,677 | m ² | 7.00 | 25,739.00
1.04 | Concrete floor slab edge detail | 251 | m | 110.00 | 27,610.00
1.05 | Ground bearing floor slab: incl. type 1 sub-base: 50kN/m²: FM2 special | 3,677 | m ² | 67.00 | 246,359.00
1.06 | Insulation to office area: extended to u/s offices (assumed mezzanine area only) | 310 | m ² | 25.00 | 7,750.00
1.07 | Wing walls to loading docks | 1 | Item | 20,000.00 | 20,000.00
|  |  |  | Sub Total | 391,558.00
2.0 | STRUCTURAL FRAME AND FLOORS
2.01 | Structural steel portal frame: 12m u/s haunch | 3,858 | m ² | 100.00 | 385,800.00
2.02 | Structural steel frame to loading canopy: cladding |  |  |  | Excl.
2.03 | Precast concrete floor: Level 1 and Level 2: fire protection | 621 | m ² | 180.00 | 111,780.00
2.04 | Concrete staircases and landings: flights | 4 | No. | 8,500.00 | 34,000.00
|  |  |  | Sub Total | 531,580.00
3.0 | ROOF AND WALL CLADDING
3.01 | Roof cladding:built up system incl. rooflights | 3,861 | m ² | 100.00 | 386,100.00
3.02 | Wall cladding: composite mineral fibre steel panels | 667 | m ² | 140.00 | 93,380.00
3.03 | Wall cladding: built up system | 3,033 | m ² | 90.00 | 272,970.00
3.04 | Canopy cladding incl. gutters and drain pipes | 1 | Item |  | Incl.
3.05 | Feature framing and cladding: main entrance feature | 1 | Item | 20,000.00 | 20,000.00
3.07 | Gutters | 1 | Item | 3,500.00 | 3,500.00
|  |  |  | Sub Total | 775,950.00
4.0 | CLADDING ANCILLARY WORKS
4.01 | Syponic primary and secondary drainage system and downpipes | 3,861 | m ² | 7.00 | 27,027.00
4.02 | Fall - arrest system | 1 | Item | 7,500.00 | 7,500.00
4.03 | Builder's works on services installations: penetrations and flashings | 1 | Item | 2,500.00 | 2,500.00
4.04 | Louvres | 1 | Item | 5,000.00 | 5,000.00
|  |  |  | Sub Total | 42,027.00
5.0 | ENVELOPE COMPLETIONS
5.01 | Curtain wall installation | 74 | m ² | 700.00 | 51,800.00
5.02 | Extra: main entrance door: DDA compliant | 1 | Item | 7,500.00 | 7,500.00
5.03 | Windows | 40 | m ² | 535.00 | 21,400.00
5.04 | Aluminium PPC brise soleil | 1 | Item | 30,000.00 | 30,000.00
5.05 | Docks, dock doors, dock shelters and associated equipement + wing walls and steps | 2 | No. | 30,000.00 | 60,000.00
[Extracted via Docling AI (TableFormer)]

## P8_Table_7
REF | ELEMENT | QTY | UNIT | RATE £ | AMOUNT £
5.06 | Level access doors | 2 | No. | 6,500.00 | 13,000.00
5.07 | Fire escape door: single | 8 | No. | 1,800.00 | 14,400.00
|  |  |  | Sub Total | 198,100.00
6.00 | WALLS AND PARTITIONS
6.01 | Composite firewall: compartment wall to offices | 432 | m ² | 250.00 | 108,000.00
6.02 | Lift shall 'Shaftwall construction': roof over (225mm blockwork allowed) | 1 | Item | 12,000.00 | 12,000.00
6.03 | Metal stud walls | 433 | m ² | 65.00 | 28,145.00
6.04 | Metal stud walls: jumbo | 98 | m ² | 100.00 | 9,800.00
6.05 | Fire stopping incl. services penetrations: Generally | 1 | Item | 20,000.00 | 20,000.00
|  |  |  | Sub Total | 177,945.00
7.0 | INTERNAL COMPLETION
7.01 | Entrance mat and frame | 1 | Item | 1,500.00 | 1,500.00
7.02 | Floor screed and insulation: to suspended floors | 235 | m ² | 85.00 | 19,975.00
7.03 | Ceramic floor tiling and skirting: levelling screeds | 33 | m ² | 85.00 | 2,805.00
7.04 | Raised access floors: fire breaks | 260 | m ² | 78.00 | 20,280.00
7.05 | Carpets and nosings | 367 | m ² | 40.00 | 14,680.00
7.06 | Vinyl flooring: kitchenettes and toilets | 125 | m ² | 40.00 | 5,000.00
7.07 | Dry lining: to perimeter walls and blockwork walls | 194 | m ² | 40.00 | 7,760.00
7.08 | Ceramic wall tiling: to toilets and showers | 49 | m ² | 60.00 | 2,940.00
7.09 | Ditto: splashbacks to kitchenettes: two courses high | 16 | m | 20.00 | 320.00
7.10 | MF plasterboard ceilings | 111 | m ² | 40.00 | 4,440.00
7.11 | Mineral fibre suspended ceiling: exposed grid | 348 | m ² | 40.00 | 13,920.00
7.12 | Decorations: plasterboard walls | 1,256 | m ² | 10.50 | 13,188.00
7.13 | Ditto: plasterboard ceilings | 111 | m 2 | 13.50 | 1,499.00
7.14 | Internal doors and frames: decorated: ironmongery, door furniture and signage: single | 18 | No | 1,350.00 | 24,300.00
7.15 | Ditto: leaf and a half | 3 | No | 1,750.00 | 5,250.00
7.16 | Sundry joinery: skirtings and window boards | 1 | Item | 7,500.00 | 7,500.00
7.17 | Fit kitchenette units, worktops: back panels | 3 | No. | 2,000.00 | 6,000.00
7.18 | IPS panels | 6 | No | 1,000.00 | 6,000.00
7.19 | Toilet cubicles | 1 | No | 1,250.00 | 1,250.00
7.20 | Balustrades and handrails: stainless steel: feature staircase: entrance lobby to first floor only | 1 | No. | 7,500.00 | 7,500.00
7.21 | Ditto: accomodation staircase: stair 2 and stair 1 upper floors | 1 | No. | 7,500.00 | 7,500.00
7.22 | Mirrors | 8 | No. | 100.00 | 800.00
7.23 | Air tightness works | 1 | Item | 20,000.00 | 20,000.00
7.24 | Insulation to office area: extended to u/s offices (assumed mezz area only) | 310 | m ² | 10.00 | 3,100.00
|  |  |  | Sub Total | 197,507.00
[Extracted via Docling AI (TableFormer)]

## P9_Table_8
REF | ELEMENT | QTY | UNIT | RATE £ | AMOUNT £
8.00 | MEP SERVICES INSTALLATIONS
8.01 | MEP services installations incl Rockpower fee | 676 | m ² | 1,590.00 | 1,074,840.00
6.02 | Lift installation: 3 levels | 1 | No. | 33,000.00 | 33,000.00
|  |  |  | Sub Total | 1,107,840.00
TOTAL BUILDING | TOTAL BUILDING | TOTAL BUILDING | TOTAL BUILDING | TOTAL BUILDING | 3,422,507.00
[Extracted via Docling AI (TableFormer)]

## P10_Table_9
REF | ELEMENT | QTY | UNIT | RATE £ | AMOUNT £
1.0 | ROADS AND HARDSTANDINGS | ROADS AND HARDSTANDINGS | ROADS AND HARDSTANDINGS | ROADS AND HARDSTANDINGS | ROADS AND HARDSTANDINGS
1.01 | Concrete hardstanding constructions and asphalt road: stone sub-base using crushed arisings | 3,143 | m ² | 65.00 | 204,295.00
1.02 | Wheel stops to trailer spaces |  |  |  | Excl.
1.03 | Macadam road works and parking; part SUDS; | 631 | m ² | 55.00 | 34,705.00
1.04 | kerbs Thermoplastic line markings | 1 | Item | 3,000.00 | 3,000.00
1.06 | Footpaths and pavings: block pavers | 575 | m ² | 45.00 | 25,875.00
1.08 | Kerbs to site boundaries | 1 | Item | 10,000.00 | 10,000.00
1.09 | Extra: trief kerbs vulnerable locations | 1 | Item | 5,000.00 | 5,000.00
1.10 | Retaining wing-walls to loading docks |  |  |  | Excl.
1.11 | Galvanised steel steps to loading docks: bollards |  |  |  | Excl.
1.12 | Base to sprinkler tank. |  |  |  | Excl.
1.14 | Form crossovers into site: Incl. Unit 8A Estimate |  |  |  | Incl.
1.15 | Reinstate redundt crossovers: Incl. Unit 8A Estimate |  |  |  | Incl.
|  |  |  | Sub Total | 282,875.00
2.0 | SECURITY
2.01 | 2.4m high paladin enclosure fencing to site boundary | 415 | m | 95.00 | 39,425.00
2.02 | Manually operated entrance gates | 2 | No. | 7,500.00 | 15,000.00
2.03 | Personnel gate | 1 | No. | 1,500.00 | 1,500.00
|  |  |  | Sub Total | 55,925.00
3.0 | LANDSCAPING
3.01 | Allowance for topsoil, soft landscaping and knee rail fencing | 1 | Item | 25,000.00 | 25,000.00
3.02 | Allowance for cycle storage, barrier protection and bollards | 1 | Item | 25,000.00 | 25,000.00
3.03 | Bin store | 1 | No. | 3,500.00 | 3,500.00
3.04 | Allowance for Estate signage incl. duct and base |  |  |  | Excl.
|  |  |  | Sub Total | 53,500.00
4.0 | DRAINAGE
4.01 | Below ground foul water drainage installations | 1 | Item | 40,000.00 | 40,000.00
4.02 | Below ground surface water drainage installations | 8,759 | m ² | 12.50 | 109,488.00
4.03 | Allowance for surface water attenuation: provisional |  |  |  | Incl.
4.04 | Interceptor incl. alarm | 1 | No. | 7,500.00 | 7,500.00
|  |  |  | Sub Total | 156,988.00
[Extracted via Docling AI (TableFormer)]

## P11_Table_10
REF | ELEMENT | QTY | UNIT | RATE £ | AMOUNT £
5.0 | ROADS AND HARDSTANDINGS SERVICES INFRASTRUCTURE | ROADS AND HARDSTANDINGS SERVICES INFRASTRUCTURE | ROADS AND HARDSTANDINGS SERVICES INFRASTRUCTURE | ROADS AND HARDSTANDINGS SERVICES INFRASTRUCTURE | ROADS AND HARDSTANDINGS SERVICES INFRASTRUCTURE
5.01 | Incoming electric services incl. transformer | 1 | Item | 80,000.00 | 80,000.00
5.02 | Incoming water services incl. hydrant main | 1 | Item | 10,000.00 | 10,000.00
5.03 | Incoming telecom duct and services | 1 | Item | 5,000.00 | 5,000.00
5.04 | Incoming gas services |  |  |  | Excl.
5.05 | Builder's work on services infrastructure | 1 | Item | 20,000.00 | 20,000.00
5.06 | Allowance for services diversions |  |  |  | Excl.
|  |  |  | Sub Total | 115,000.00
TOTAL EXTERNAL WORKS AND SERVICES UNIT 1 | TOTAL EXTERNAL WORKS AND SERVICES UNIT 1 | TOTAL EXTERNAL WORKS AND SERVICES UNIT 1 | TOTAL EXTERNAL WORKS AND SERVICES UNIT 1 | TOTAL EXTERNAL WORKS AND SERVICES UNIT 1 | 664,288.00
[Extracted via Docling AI (TableFormer)]

## P12_Table_11
REF | ELEMENT | QTY | UNIT | RATE £ | AMOUNT £
1.0 | ROADS AND HARDSTANDINGS
1.01 | Concrete hardstanding constructions and asphalt road: stone sub-base using crushed arisings | 2,686 | m ² | 65.00 | 174,590.00
1.02 | Wheel stops to trailer spaces |  |  |  | Excl.
1.03 | Macadam road works and parking; part SUDS; | 794 | m ² | 55.00 | 43,670.00
1.04 | kerbs Thermoplastic line markings | 1 | Item | 3,000.00 | 3,000.00
1.06 | Footpaths and pavings: block pavers | 657 | m ² | 45.00 | 29,565.00
1.08 | Kerbs to site boundaries | 1 | Item | 10,000.00 | 10,000.00
1.09 | Extra: trief kerbs vulnerable locations | 1 | Item | 5,000.00 | 5,000.00
1.10 | Retaining wing-walls to loading docks |  |  |  | Excl.
1.11 | Galvanised steel steps to loading docks: bollards |  |  |  | Excl.
1.12 | Base to sprinkler tank. |  |  |  | Excl.
1.14 | Form crossovers into site: Incl. Unit 8A Estimate |  |  |  | Incl.
1.15 | Reinstate redundt crossovers: Incl. Unit 8A Estimate |  |  |  | Incl.
|  |  |  | Sub Total | 265,825.00
2.0 | SECURITY
2.01 | 2.4m high paladin enclosure fencing to site boundary | 376 | m | 95.00 | 35,720.00
2.02 | Manually operated entrance gates | 2 | No. | 7,500.00 | 15,000.00
2.03 | Personnel gate | 1 | No. | 1,500.00 | 1,500.00
|  |  |  | Sub Total | 52,220.00
3.0 | LANDSCAPING
3.01 | Allowance for topsoil, soft landscaping and knee rail fencing | 1 | Item | 25,000.00 | 25,000.00
3.02 | Allowance for cycle storage, barrier protection and bollards | 1 | Item | 25,000.00 | 25,000.00
3.03 | Bin store | 1 | No. | 3,500.00 | 3,500.00
3.04 | Allowance for Estate signage incl. duct and base |  |  |  | Excl.
|  |  |  | Sub Total | 53,500.00
4.0 | DRAINAGE
4.01 | Below ground foul water drainage installations | 1 | Item | 40,000.00 | 40,000.00
4.02 | Below ground surface water drainage installations | 7,999 | m ² | 12.50 | 99,988.00
4.03 | Allowance for surface water attenuation: provisional |  |  |  | Incl.
4.04 | Interceptor incl. alarm | 1 | No. | 7,500.00 | 7,500.00
|  |  |  | Sub Total | 147,488.00
[Extracted via Docling AI (TableFormer)]

## P13_Table_12
REF | ELEMENT | QTY | UNIT | RATE £ | AMOUNT £
5.0 | ROADS AND HARDSTANDINGS SERVICES INFRASTRUCTURE | ROADS AND HARDSTANDINGS SERVICES INFRASTRUCTURE | ROADS AND HARDSTANDINGS SERVICES INFRASTRUCTURE | ROADS AND HARDSTANDINGS SERVICES INFRASTRUCTURE | ROADS AND HARDSTANDINGS SERVICES INFRASTRUCTURE
5.01 | Incoming electric services incl. transformer | 1 | Item | 20,000.00 | 20,000.00
5.02 | Incoming water services incl. hydrant main | 1 | Item | 10,000.00 | 10,000.00
5.03 | Incoming telecom duct and services | 1 | Item | 5,000.00 | 5,000.00
5.04 | Incoming gas services |  |  |  | Excl.
5.05 | Builder's work on services infrastructure | 1 | Item | 20,000.00 | 20,000.00
5.06 | Allowance for services diversions |  |  |  | Excl.
|  |  |  | Sub Total | 55,000.00
TOTAL EXTERNAL WORKS AND SERVICES UNIT 520 | TOTAL EXTERNAL WORKS AND SERVICES UNIT 520 | TOTAL EXTERNAL WORKS AND SERVICES UNIT 520 | TOTAL EXTERNAL WORKS AND SERVICES UNIT 520 | TOTAL EXTERNAL WORKS AND SERVICES UNIT 520 | 574,033.00
[Extracted via Docling AI (TableFormer)]